## Slide 1
S1a: An overview of clinical and artificial DNA included in the NGS based chimerism validation process (Clinical samples, Artificial construct samples and ASHI EMO Proficiency samples)
Pre transplant Clinical DNA (n=138)
Pre transplant Donor DNA (n=46)
Pre transplant Recipient DNA (n=46)
Post-transplant Recipient DNA (n=46)
Artificial gDNA (n=36)
Simulated chimerism (n=24)
Serial Dilutions (n=12)
ASHI-EMO program (n=10)
S1b: Schematic presentation of time required for the NGS Chimerism assay
DNA Extraction from blood and bone marrow
Library preparation: PCR amplification, Tagmentation and Enrichment (indexing and barcoding)
Library Purification, normalization and pooling. Denaturation and dilution at loading concentration
Loading Diluted libraries on to the MiSeq for Sequencing run
Data analysis, interpretation and reporting
30 min
2 hrs
2 hrs
17 hrs
1 hr
Step 1
Step 2
Step 3
Step 4
Step 5
Proficiency Testing (n=10)
SNP distribution across the genome
S1c. AlloSeq HCT library preparation workflow
Supplementary Figure 1: An overview of DNA samples included in the NGS based chimerism validation process and AlloSeq HCT library preparation workflow